## Outdoor
Model: |  | HO-SZ09-AB-Q
Brand: |  | Mitsutomo
Part Code | Part Name(En) | Part Name(Local) | QTY | Substitute
12222000A06298 | Front panel assembly | Front panel assembly | 1.00
12222000A06091 | Air outlet grille | Air outlet grille | 1.00
12222000A06299 | Front panel | Front panel | 1.00
12100105000881 | Axial Flow Fan | Axial Flow Fan | 1.00 | 12100105A00146
11002015012128 | Brushless DC Motor | Brushless DC Motor | 1.00 | 11002015018558
12222000013200 | Motor Bracket | Motor Bracket | 1.00
15822000013786 | Condenser assembly | Condenser assembly | 1.00
12222000013197 | Left Side Panel | Left Side Panel | 1.00
12222000013193 | Top Cover Assembly | Top Cover Assembly | 1.00
12222000014125 | Partition Board Assembly | Partition board assembly | 1.00
12222000013190 | Right Clapboard Assembly | Right Clapboard Assembly | 1.00
12122000007150 | Water Collector | Water Collector | 1.00
12222000010966 | Big Handle Assembly | Big Handle Assembly | 1.00
17400401000068 | Terminal | Terminal | 1.00
12222000014127 | Chassis assembly | Chassis assembly | 1.00
11103020003399 | DC Inverter Rotary Compressor | DC Inverter Rotary Compressor | 1.00
12222000013667 | Rear net | Rear net | 1.00
15422000018693 | 4-way valve assembly | 4-way valve assembly | 1.00
15500204000021 | Gas Valve | Gas Valve | 1.00
15500216000028 | Four-Way Valve | Four-Way Valve | 1.00 | 15500216000008
12222200005738 | Valve Plate | Valve Plate | 1.00
15122000025298 | Muffler subassembly | Muffler subassembly | 1.00
15422000023095 | Liquid valve assembly | Liquid valve assembly | 1.00
15500208000028 | High Pressure Valve | Liquid Valve | 1.00
15500213002089 | Electronic expansion valve suite | Electronic expansion valve suite | 1.00
15500213002829 | Electric expansive valve (EEV) | Electric expansive valve (EEV) | 1.00
15500406000010 | Flare Nut | Copper nut | 1.00 | 15500406000015
15500406000016 | Flare Nut | Copper nut | 1.00
11201011000067 | Combination Sensor | Combination Sensor | 1.00
12222000019881 | Terminal Board | Terminal Board | 1.00
17222000037699 | Electronic control box subassembly | Electronic control box subassembly | 1.00
12122000024223 | Support of Electronic Control Box | Support of Electronic Control Box | 1.00
12122000024222 | Fixing board | Fixing board | 1.00
12222000012106 | Electronic Installing Box Subassembly | Electronic Installing Box Subassembly | 1.00
16022000C85989 | Outdoor unit trademark | Outdoor unit trademark | 1.00
17402001000603 | Crankcase Electric Heating Strip | Crankcase Electric Heating Strip | 1.00
17402002000464 | Heater | Heater | 1.00
17401203012697 | Compressor Wires Subassembly | Compressor Wires Subassembly | 1.00

## Indoor
Model: |  | HJ-UZ09-AB-Q
Brand: |  | Mitsutomo
Part Code | Part Name(En) | Part Name(Local) | QTY | Substitute
12122500A30207 | Panel assembly | Panel assembly | 1.00
17222500A04797 | Display board subassembly | Display board subassembly | 1.00
17122500004112 | Display Board Subassembly | Display Board Subassembly | 1.00
17122500005091 | Adapter plate subassembly | Adapter plate subassembly | 1.00
12222500002492 | locked button board | locked button board | 2.00
12122500002707 | Air filter | Air filter | 1.00
12222500002474 | Cover of electronic control box | Cover of electronic control box | 1.00
17222500003988 | Electronic control box subassembly | Electronic control box subassembly | 1.00
12222500002452 | Electronic control box | Electronic control box | 1.00
12122500002567 | Electronic control box | Electronic control box | 1.00
17122500005291 | Main control board subassembly | Main control board subassembly | 1.00
17400519000368 | Power switch | Power switch | 1.00
11201007003448 | Room Temperature Sensor | Room Temperature Sensor | 1.00
12222500002412 | Electric cover | Electric cover | 1.00
12122500002588 | Water tray components | Water tray components | 1.00
12600801000903 | Drain stopper | Drain stopper | 1.00
15822500002599 | Evaporator subassembly | Evaporator subassembly | 1.00
15122500003636 | Evaporator outlet pipe subassembly | Evaporator outlet pipe subassembly | 1.00
15122500003656 | Evaporator inlet pipe subassembly | Evaporator inlet pipe subassembly | 1.00
15500209000001 | Pin Valve | Check valve | 1.00
15500404000002 | Pipe Nut | Pipe Nut | 1.00 | 15500404000148
12122500002587 | Wind guide frame subassembly | Wind guide frame subassembly | 1.00
12122000031622 | Fan motor base | Fan motor base | 1.00
11002015016793 | Brushless DC Motor | Brushless DC Motor | 1.00
12100102000936 | Cross flow fan | Cross flow fan | 1.00
12122500002607 | Air duct components | Air duct components | 1.00
12622000000131 | Bearing Block Assembly | Bearing Block Assembly | 1.00 | 12622000A00001
12222500002413 | Chassis subassembly | Chassis subassembly | 1.00
12223000012927 | Hook | Hook | 4.00
12122500002647 | Plastic parts | Plastic parts | 1.00
12223000015688 | Support plate | Support plate | 1.00
17400802003633 | Hood pump subassembly | Hood pump subassembly | 1.00
17400511001344 | Water Level Switch | Water Level Switch | 1.00
12100510000021 | Drain Hose | Drain Hose | 1.00
17122000058071 | Humidity sensor subassembly | Humidity sensor subassembly | 1.00
11201007003437 | Pipe Temperature Sensor | Pipe Temperature Sensor | 1.00
17317000A66129 | Remote controller | Remote controller | 1.00
12122000029201 | Bracket of Remote Controller | Bracket of Remote Controller | 1.00
15500406000010 | Flare Nut | Copper nut | 1.00 | 15500406000015
15500406000016 | Flare Nut | Copper nut | 1.00
17317100A36335 | Wired controller | Wired controller | 1.00
12011600A00350 | Accessory Kit | Accessory Kit | 1.00
12600701000039 | Sealing Ring | seal ring | 1.00
12100509000061 | Water Outlet Pipe | Drain Hose | 1.00
12011600A00310 | Accessory Kit | Accessory Kit | 1.00